Office of the Executive  Engineer (Civil),  BSNL Civil Division, Fafadih

Telephone Exchange Compound, Raipur 492006 (C.G), Phone No. 0771-2532944

No. W (7)/EE (C )/BSNL/ RYP/ 18                                                               Raipur  Dated:  27.01.2023

# NOTICE INVITING QUOTATION

NIQ. N0.  11/ 2022-23/CD/RYP Dated   01/02/2022

The Executive Engineer (C), B.S.N.L. Civil  Division , Raipur sealed quotations are invited from BSNL registered contractors/ reputed agency having EPF/ESI registration on behalf of BHARAT SANCHAR NIGAM LIMITED ( A Government of India Enterprise).

The quotations should be reach the undersigned on or before 15:00 Hours on Date 04.02.2023 The quotations will be opened before the intending contractors on the same day at 15:30 Hours. The undersigned reserved the right to accept any quotation other than the lowest or reject all the quotation without causing any reason.

Details of quotations can be seen in the O/o the Executive Engineer (Civil), BSNL Civil Division  2nd floor Telephone Bhawan, Fafadih, Raipur. Pin- 492009 (Phone No.0771-2532944) between 11.00 hours to 16.00 hours from 27.01.2023  to 03.02.2023 every day except on Sundays and Public Holidays .or  can be down loaded from website www.chhattisgarh.bsnl.co.in, .

Name of Work :- Making arrangement to install equipments for 200 PRIs in Room no 202 by partioion WORK in CTX Building Fafadih Raipur

Estimated Cost	:-     Rs.79415/- Time Limit :- 7( Seven ) Days

Schedule of Quantity: -

| Sl No. | Descriptions of work | Quantity | Rate( in words and in figure) | Unit | Amount ) |
| --- | --- | --- | --- | --- | --- |
| ………As Per sheet Attached ……… |

TERMS & CONDITIONS:

1. The work should be carried out as per CPWD Specifications with up to date correction slip.

2.  No T & P shall be issued from department; Contractor has to arrange for the same at his own cost.

3.  Contractor shall make his own arrangement of water. If the contractor uses the departmental water 1% water

charges shall be recovered from his bill.

4. All the materials required for the work shall be got approved before the work started.

5. The quoted rate shall be inclusive of all taxes excluding GST .

6. 1.00 (one) percent tax shall be deducted on gross value of work done as per Chhattisgarh Builders & other

Worker’s Cess Act 2008 and Construction Worker’s Cess Act 1996 for the welfare of workers except service  tax.

7. Payment shall be made to the contractor though ERP system after satisfactory completion of work and

Preparation of Bill

8. All formalities with Labour / EPF7ESI department shall be sole responsibility of the agency.

Executive Engineer (C)

BSNL Civil Division, Raipur

Copy to :-

1.   The GM  B.A Raipur SSA BSNL, Raipur for kind information please.

2.	The Chief Engineer (C) BSNL Civil CG Zone, Raipur for kind information please.

3.	The Executive Engineer (C) BSNL Civil Division Bilaspur .

4.	The SDE(C) BSNL Civil Sub-Dn. Raipur/Durg/Bilaspur/Jagdalpur.

5.    Notice Board.

6.   website www.chhattisgarh.bsnl.co.in, .

| Schedule of Quantity |
| --- |
| SCHEDULE OF QUANTITIES |
|  | Name of the work : Making arrangement to install equipments for 200 PRIs in Room no 202 by partioion WORK in CTX Building Fafadih Raipur |
| I.No. | Description of Item | Quantity | Rate (Rs) | Unit | Amount(Rs) |
| Sub-Head : Dismantling and Demolishing |
| 1 | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Engineer-in-charge.. |  |  |  |  |  |
| a | In cement mortar | 2.00 | Cum |  | One Cubic Metre |  |
| 2 | Disposal of building rubbish / malba / similar unserviceable, dismantled or waste materials by mechanical means, including loading, transporting, unloading to approved municipal dumping ground or as approved by Engineer-in-charge, beyond 50 m initial lead, for all leads including all lifts involved. | 6.00 | Cum |  | One Cubic Metre |  |
| Sub-Head : Wood and P.V.C. Work |
| 3 | Providing and fixing Stainless Steel tower bolts with necessary screws etc. complete : |  |  |  |  |  |
| a | 250x10mm | 1.00 | No. |  | Each |  |
| Sub-Head : Aluminium Work |
| 4 | Providing and fixing aluminium work for doors, windows, ventilators and partitions with extruded built up standard tubular sections/appropriate Z sections and other sections of approved make conforming to IS: 733 and IS: 1285, fixing with dash fasteners of required dia and size, including necessary filling up the gaps at junctions, i.e. at top, bottom and sides with required EPDM rubber/neoprene gasket etc. Aluminium sections shall be smooth, rust free, straight, mitred and jointed mechanically wherever required including cleat angle, Aluminium snap beading for glazing / paneling, C.P. brass/ stainless steel screws, all complete as per architectural drawings and the directions of Engineer-in-charge. (Glazing, paneling and dash fasteners to be paid for separately) : |  |  |  |  |  |
| a | For fixed portion |  |  |  |  |  |
| i | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 80.00 | Kg |  | One Kilogram |  |
| b | For shutters of doors, windows & ventilators including providing and fixing hinges/ pivots and making provision for fixing of fittings wherever required including the cost of EPDM rubber / neoprene gasket required (Fittings shall be paid for separately). |  |  |  |  |  |
| i | Anodised aluminium (anodised transparent or dyed to required shade according to IS: 1868, Minimum anodic coating of grade AC 15) | 15.00 | Kg |  | One Kilogram |  |
| 5 | Providing and fixing 12mm thick prelaminated particle board flat pressed three layer or graded wood particle board conforming to IS:12823 Grade l Type ll, in panelling fixed in aluminum doors, windows shutters and partition frames with C.P. brass / stainless steel screws etc. complete as per architectural drawings and directions of engineer-in-charge. |  |  |  |  |  |
| a | Pre-laminated particle board with decorative lamination on one side and balancing lamination on other side. | 20.00 | Sqm |  | One Square Metre |  |
| 6 | Providing and fixing glazing in aluminium door, window, ventilator shutters and partitions etc. with EPDM rubber / neoprene gasket etc. complete as per the architectural drawings and the directions of engineer-in-charge . (Cost of aluminium snap beading shall be paid in basic item): |  |  |  |  |  |
| a | With float glass panes of 5 mm thickness (weight not less than 12.50 kg/sqm) | 8.00 | Sqm |  | One Square Metre |  |
| 7 | Providing and fixing aluminium tubular handle bar 32 mm outer dia, 3.0 mm thick & 2100 mm long with SS screws etc .complete as per direction of Engineer-in-Charge. |  |  |  |  |  |
| a | Anodized (AC 15 ) aluminium tubular handle bar | 2.00 | Nos. |  | Each |  |
| 8 | Providing and fixing Brass 100mm mortice latch and lock with 6 levers without pair of handles (best make of approved quality) for aluminium doors including necessary cutting and making good etc. complete. | 1.00 | No. |  | Each |  |
| Sub-Head : Roofing |
| 9 | Providing and fixing plain multipurpose cement board (High pressure steam cured) with suitable screws for cement particle board in Duct etc. complete (frame work to be paid separately). |  |  |  |  |  |
| a | 12 mm thick Cement bonded wood particle board as per IS:14276 | 12.00 | Sqm |  | One Square Metre |  |
| Sub-Head : Finishing |
| 10 | 18 mm cement plaster in two coats under layer 12 mm thick cement plaster 1:5 (1 cement: 5 coarse sand) finished with a top layer 6mm thick cement plaster 1:6 (1 cement: 6 fine sand). | 3.00 | Sqm |  | One Square Metre |  |
| 11 | Providing and fixing double scaffolding system (cup lock type) on the exterior side of building/structure, upto 25 metre height, above ground level, including additional rows of scaffolding in stepped manner as per requirement of site, made with 40mm dia M.S. tube, placed 1.5 metre centre to centre, horizontal & vertical tubes joint with cup & lock system with M.S. Tubes, M.S. tube challis, M.S. clamps and staircase system in the scaffolding for working platform etc. and maintaining it in a serviceable condition for execution of work of cleaning and/ or pointing and/ or applying chemical and removing it thereafter. |  |  |  |  |  |
|  | The scaffolding system shall be stiffened with bracings, runners, connecting with the building etc, wherever required, if feasible, for inspection of work at required locations with essential safety features for the workmen etc., complete as per directions and approval of Engineer-in-charge. |  |  |  |  |  |
|  | Note :- (1) The elevational area of the scaffolding shall be measured for payment purpose. |  |  |  |  |  |
|  | (2) The payment will be made once only for execution of all items for such works. | 30.00 | Sqm |  | One Square Metre |  |
|  |  |  |  |  | Total = |  |
|  | Executive Engineer (Civil) |  |  |  |  |  |
|  | BSNL Civil Dn Raipur |  |  |  |  |  |

# Text boxes

BHARAT SANCHAR NIGAM LIMITED

(A Government of India Enterprise)